## Maintenance Plan - FAMS
THREE YEAR MAINTENANCE REPAIR PLAN
SCHOOL LEVEL
School: Franklin Avenue Middle School |  |  | District: Franklin Lakes
School Code: 015 |  |  | District Code: 1580
| Total Expenditure | Budget | Planned
| FY | FY | FY
Component/School | 18/19 | 19/20 | 20/21
Ground /Site | 18800 | 1400 | 6450
Structural | 0 | 800 | 1200
Roof/Roof Accessories | 14708 | 12427 | 1300
Exterior Walls | 0 | 0 | 0
Interior Walls/Partitions | 31400 | 7936 | 7600
Doors & Windows | 600 | 2000 | 3100
Floors & Ceilings | 3450 | 1800 | 3100
Plumbing | 3835 | 1600 | 2500
Electrical/Lighting | 8163 | 1900 | 3000
Mechanical Ventilation/Exhaust | 15289 | 10300 | 19250
Heating/Air Conditioning | 52613 | 3162 | 12440
Fire Protection/Alarm System | 8228 | 733 | 5750
Specialty Areas (List) | 5993 | 8300 | 500
Total Estimated Expenditures per Fiscal Year | 163079 | 52358 | 66190
Note: The summary must be accompanied by the Three Year Maintenance Plan for each school building owned by the District BOE

## Maintenance Plan - CRS)
THREE YEAR MAINTENANCE REPAIR PLAN
SCHOOL LEVEL
School: Colonial Road School |  |  | District: Franklin Lakes
School Code: 040 |  |  | District Code: 1580
| Total Expenditure | Budget | Planned
| FY | FY | FY
Component/School | 18/19 | 19/20 | 20/21
Ground /Site | 15200 | 0 | 0
Structural | 0 | 0 | 0
Roof/Roof Accessories | 6800 | 2600 | 4500
Exterior Walls | 0 | 0 | 0
Interior Walls/Partitions | 5050 | 2200 | 1600
Doors & Windows | 2173 | 500 | 600
Floors & Ceilings | 250 | 1200 | 2400
Plumbing | 13950 | 1900 | 1500
Electrical/Lighting | 850 | 1600 | 2555
Mechanical Ventilation/Exhaust | 3464 | 4700 | 2650
Heating/Air Conditioning | 6844 | 13650 | 9500
Fire Protection/Alarm System | 2850 | 1833 | 6150
Specialty Areas (List) | 6399 | 7250 | 8550
Total Estimated Expenditures per Fiscal Year | 63830 | 37433 | 40005
Note: The summary must be accompanied by the Three Year Maintenance Plan for each school building owned by the District BOE

## Maintenance Plan - HMRS
THREE YEAR MAINTENANCE REPAIR PLAN
SCHOOL LEVEL
School: High Mountain Road School |  |  | District: Franklin Lakes
School Code: 020 |  |  | District Code: 1580
| Total Expenditure | Budget | Planned
| FY | FY | FY
Component/School | 18/19 | 19/20 | 20/21
Ground /Site | 9825 | 1350 | 6450
Structural | 1200 | 800 | 1200
Roof/Roof Accessories | 15250 | 6400 | 8000
Exterior Walls | 0 | 500 | 3000
Interior Walls/Partitions | 2839 | 6000 | 5600
Doors & Windows | 1870 | 2800 | 3000
Floors & Ceilings | 25629 | 400 | 600
Plumbing | 1750 | 1600 | 2500
Electrical/Lighting | 1750 | 2400 | 2700
Mechanical Ventilation/Exhaust | 1430 | 4000 | 2350
Heating/Air Conditioning | 25602 | 7333 | 21715
Fire Protection/Alarm System | 2850 | 2133 | 3750
Specialty Areas (List) | 3830 | 2950 | 3500
Total Estimated Expenditures per Fiscal Year | 93825 | 38666 | 64365
Note: The summary must be accompanied by the Three Year Maintenance Plan for each school building owned by the District BOE

## Maintenance Plan - WAS
THREE YEAR MAINTENANCE REPAIR PLAN
SCHOOL LEVEL
School: Woodside Avenue School |  |  | District: Franklin Lakes
School Code: 030 |  |  | District Code: 1580
| Total Expenditure | Budget | Planned
| FY | FY | FY
Component/School | 18/19 | 19/20 | 20/21
Ground /Site | 30831 | 1650 | 6550
Structural | 1000 | 800 | 1200
Roof/Roof Accessories | 6200 | 400 | 3500
Exterior Walls | 0 | 500 | 3000
Interior Walls/Partitions | 9790 | 5500 | 3500
Doors & Windows | 11132 | 3700 | 3000
Floors & Ceilings | 2756 | 6067 | 600
Plumbing | 750 | 1400 | 2500
Electrical/Lighting | 2750 | 1151 | 2400
Mechanical Ventilation/Exhaust | 7530 | 4500 | 5750
Heating/Air Conditioning | 24166 | 3100 | 6900
Fire Protection/Alarm System | 3225 | 1533 | 1750
Specialty Areas (List) | 43441 | 7300 | 4400
Total Estimated Expenditures per Fiscal Year | 143571 | 37601 | 45050
Note: The summary must be accompanied by the Three Year Maintenance Plan for each school building owned by the District BOE

## Maintenance Plan - District Sum
THREE YEAR MAINTENANCE REPAIR PLAN
DISTRICT SUMMARY
District: Franklin Lakes
District Code: 1580
| Total Expenditure | Budget | Planned
| FY | FY | FY
SCHOOL BUILDING | 18/19 | 19/20 | 20/21
FRANKLIN AVENUE MIDDLE SCHOOL | 163079 | 52358 | 66190
HIGH MOUNTAIN ROAD SCHOOL | 93825 | 38666 | 64365
WOODSIDE AVENUE SCHOOL | 143571 | 37601 | 45050
COLONIAL ROAD SCHOOL (OPENED 9/04) | 63830 | 37433 | 40005
Total Estimated Expenditures per Fiscal Year | 464305 | 166058 | 215610
Note: The summary must be accompanied by the Three Year Maintenance Plan for each school building owned by the District BOE

## CRS code sum
THREE YEAR MAINTENANCE REPAIR PLAN
CRS CODE SUMMARY
District: Franklin Lakes
District Code: 1580
| 2018-2019 | 2019-2020 | 2020-2021
Code 10: Ground/Site | Actual | Budgeted | Planned
COLONIAL ROAD SCHOOL
Athletic Fields |  |  | 0
Repair Bleachers
Driveway site repair | 7800 | 600 | 600
Fencing | 600 | 600 | 600
Landscaping | 0 | 200
Pruning | 2300 | 1500
Playground Equipment | 0
Remediation | 4500 | 7500 | 25000
Repair Parking Area | 0 | 500
Code 10 - CRS Total | 15200 | 10900 | 26200
Completed/
| 2018-2019 | 2019-2020 | 2020-2021
Code 15: Structural | Actual | Budgeted | Planned
COLONIAL ROAD SCHOOL
Renovate Bathrooms
Replace Smartboards | 0
Code 15 -CRS Total | 0 | 0 | 0
Completed/
| 2018-2019 | 2019-2020 | 2020-2021
Code 20: Roofs | Actual | Budgeted | Planned
COLONIAL ROAD SCHOOL
Repairs | 6400 | 2000 | 4000
Drains & Gutters | 400 | 600 | 500
Code 20 - CRS Total | 6800 | 2600 | 4500
Completed/
| 2018-2019 | 2019-2020 | 2020-2021
Code 25: Exterior Structure | Actual | Budgeted | Planned
COLONIAL ROAD SCHOOL
Soffits
Repair Brick Work | 0
Code 25 - CRS Total | 0 | 0 | 0
Completed/
| 2018-2019 | 2019-2020 | 2020-2021
Code 30: Interior Structure | Actual | Budgeted | Planned
COLONIAL ROAD SCHOOL
Painting | 0 |  | 1000
Exterminating | 650 | 600 | 600
Carpets | 2700
GYM floor | 1700 | 1600
Code 30 - CRS Total | 5050 | 2200 | 1600
Completed/
| 2018-2019 | 2019-2020 | 2020-2021
Code 35: Doors & Windows | Actual | Budgeted | Planned
COLONIAL ROAD SCHOOL
Drapes and shades | 1418 | 500
Door Locks | 755
Window film | 0 | 0 | 600
Code 35 - CRS Total | 2173 | 500 | 600
Completed/
| 2018-2019 | 2019-2020 | 2020-2021
Code 40: Floors & Ceilings | Actual | Budgeted | Planned
COLONIAL ROAD SCHOOL
Ceiling Tiles | 250 | 600 | 1200
Gym floor | 0 | 600 | 1200
Replace Floors | 0 | 0
Code 40 - CRS Total | 250 | 1200 | 2400
Completed/
| 2018-2019 | 2019-2020 | 2020-2021
Code 45: Plumbing | Actual | Budgeted | Planned
COLONIAL ROAD SCHOOL
RotoRooter | 0 | 600
Hot water heater | 12750 | 500
Plumbing Supplies/Repairs | 1200 | 800 | 1500
Code 45 - CRS Total | 13950 | 1900 | 1500
| 2018-2019 | 2019-2020 | 2020-2021
Code 50: Electrical | Actual | Budgeted | Planned
COLONIAL ROAD SCHOOL
Electrical supplies | 250 | 600 | 455
Outlets | 0 | 200 | 0
Exterior Lights | 600 | 800 | 1500
Upgrade gym Lighting Fixtures | 0 | 0 | 600
Code 50 - CRS Total | 850 | 1600 | 2555
Completed/
| 2018-2019 | 2019-2020 | 2020-2021
Code 55: Ventilation | Actual | Budgeted | Planned
COLONIAL ROAD SCHOOL
Uni-Vents | 2614 | 3000 | 1650
Airdale units | 0 | 0 | 0
Motors & Belts | 850 | 1700 | 1000
Ceiling fans
Code 55 -CRS Total | 3464 | 4700 | 2650
Completed/
| 2018-2019 | 2019-2020 | 2020-2021
CODE 60: Heating/Air Conditioning | Actual | Budgeted | Planned
COLONIAL ROAD SCHOOL
Gas regulator | 0 | 750 | 1000
Air Filters | 1500 | 1200 | 1500
Service Contract-Boilers | 1600 | 0 | 0
Repairs-Controls | 2277 | 1700 | 1000
Water Treatment | 1467
Rooftop unit replaced | 0
Replace Tubes
Service Contract - Heat Pumps
Code 60 - CRS Total | 6844 | 3650 | 3500
Completed/
| 2018-2019 | 2019-2020 | 2020-2021
Code 65: Fire & Alarm System | Actual | Budgeted | Planned
COLONIAL ROAD SCHOOL
Repair Security System | 0 | 0
Inspect/ replace Fire Alarms | 0 | 1100 | 3900
Service Contract-Alarms | 2500 | 400 | 1800
Service Contract-Fire Extinguishers | 350
Maintenance-Security System |  | 333 | 450
Code 65 - CRS Total | 2850 | 1833 | 6150
Completed/
| 2018-2019 | 2019-2020 | 2020-2021
Code 80: Specialty Areas | Actual | Budgeted | Planned
COLONIAL ROAD SCHOOL
Rugs | 0 | 1250 | 1800
Lightning detection system | 0
Septic System/Pumped | 1200 | 700 | 850
Recycling bins | 0 | 500
Clocks | 0
Drapery | 0
Security/Safety film | 0 | 600
Service Contract-Copiers | 800 | 1200 | 1500
Service Contract-Septic | 0 | 1500 | 1500
Instructional Equipment/Gym | 4399 | 1500 | 1500
Non-Instructional Equipment | 0 |  | 1400
Repairs Custodial Equipment | 0
Code 80 - CRS Total | 6399 | 7250 | 8550

## Code Summary By School
THREE YEAR MAINTENANCE REPAIR PLAN
CODE SUMMARY BY SCHOOL
District: Franklin Lakes
District Code: 1580
| 2018-2019 | 2019-2020 | 2020-2021
Code 10: Ground/Site | Actual | Budgeted | Planned
FRANKLIN AVENUE MIDDLE SCHOOL
Athletic Fields | 2400 | 1000 | 2000
Fencing | 350 |  | 3200
Landscaping/ Irrigation | 1800 | 400 | 750
Repair parking lot-Inlets | 9000 | 0 | 500
Parking lot lights | 5250
0
Code 10 - FAMS Total | 18800 | 1400 | 6450
HIGH MOUNTAIN ROAD SCHOOL
Pruning | 0 | 500 | 500
Replace playground mulch | 0
Well drilling/closing | 2500 | 0 | 0
Landscaping/ Irrigation | 3075 | 350 | 1200
Environmental Center | 0
Repair playground | 0 | 0
Repair parking lot | 4250 | 500 | 250
Code 10 - HMRS Total | 9825 | 1350 | 1950
WOODSIDE AVENUE SCHOOL
Athletic Fields
Pumping station | 0 | 0 | 1200
Repair Parking / Trench drain | 26206 |  | 0
Fencing |  | 250 | 800
Repair parking lot | 0 |  | 1200
Pruning | 4175 | 1200 | 3000
Landscaping/ Irrigation | 450 | 200 | 350
Update Playgrounds | 0 | 0 | 0
Code 10 - WAS Total | 30831 | 1650 | 6550
TOTALS | 59456 | 4400 | 14950
Completed/
| 2018-2019 | 2019-2020 | 2020-2021
Code 15: Structural | Actual | Budgeted | Planned
FRANKLIN AVENUE MIDDLE SCHOOL
| 0 |  | 0
Replace Smartboards | 0 | 800 | 1200
Code 15 - FAMS Total | 0 | 800 | 1200
HIGH MOUNTAIN ROAD SCHOOL
| 0 |  | 0
Replace Smartboards | 1200 | 800 | 1200
Code 15 - HMRS Total | 1200 | 800 | 1200
Woodside Avenue School
| 0 |  | 0
Replace Smartboards | 1000 | 800 | 1200
Code 15 - WAS Total | 1000 | 800 | 1200
TOTALS | 2200 | 2400 | 3600
Completed/
| 2018-2019 | 2019-2020 | 2020-2021
Code 20: Roofs | Actual | Budgeted | Planned
FRANKLIN AVENUE MIDDLE SCHOOL
Roof Repairs | 14708 | 7000 | 6500
Drains & Gutters | 0 | 400
Code 20 - FAMS Total | 14708 | 7400 | 6500
HIGH MOUNTAIN ROAD SCHOOL
Roof Repairs | 15250 | 6000 | 4500
Drains & Gutters | 0 | 400 | 3500
Code 20 - HMRS Total | 15250 | 6400 | 8000
WOODSIDE AVENUE SCHOOL
Roof Repairs | 6200 | 0 | 3500
Drains & Gutters | 0 | 400
Code 20 - WAS Total | 6200 | 400 | 3500
TOTALS | 36158 | 21200 | 18000
Completed/
| 2018-2019 | 2019-2020 | 2020-2021
Code 25: Exterior Structure | Actual | Budgeted | Planned
FRANKLIN AVENUE MIDDLE SCHOOL
Soffits
Repair Brick Work | 0 | 4450 | 2500
Code 25 - FAMS Total | 0 | 4450 | 2500
HIGH MOUNTAIN ROAD SCHOOL
Soffits |  |  | 2500
Replace skylights | 0 | 500 | 500
Çode 25 - HMRS Total | 0 | 500 | 3000
WOODSIDE AVENUE SCHOOL
Soffits |  |  | 2500
Replace stair tread | 0 | 500 | 500
Code 25 - WAS Total | 0 | 500 | 3000
TOTALS | 0 | 5450 | 8500
Completed/
| 2018-2019 | 2019-2020 | 2020-2021
Code 30: Interior Structure | Actual | Budgeted | Planned
FRANKLIN AVENUE MIDDLE SCHOOL
Painting | 8700 | 2436 | 2000
Elevator contract / repairs | 2200 | 2500 | 4000
Exterminating | 1000 | 500 | 600
Flooring | 2250 | 2000 | 500
Gym flloring | 17250 | 500 | 500
Code 30 - FAMS Total | 31400 | 7936 | 7600
HIGH MOUNTAIN ROAD SCHOOL
Painting | 300 | 3500 | 3300
Repair bathrooms | 600 |  | 0
Floors | 0
Exterminating | 239 | 500 | 800
GYM floor | 1700 | 2000 | 1500
Code 30 - HMRS Total | 2839 | 6000 | 5600
WOODSIDE AVENUE SCHOOL
Painting | 5290 | 1500 | 2000
Repair bathrooms | 1800 | 1500 | 0
Carpets | 1000 | 500
GYM floor | 1700 | 2000 | 1500
Code 30 - WAS Total | 9790 | 5500 | 3500
TOTALS | 44029 | 19436 | 16700
Completed/
| 2018-2019 | 2019-2020 | 2020-2021
Code 35: Doors & Windows | Actual | Budgeted | Planned
FRANKLIN AVENUE MIDDLE SCHOOL
Security/ Repair Doors | 600 | 1000 | 2500
Window film | 0
Replace blinds | 0 | 1000 | 600
Code 35 - FAMS Total | 600 | 2000 | 3100
HIGH MOUNTAIN ROAD SCHOOL
Security/ Repair Doors | 0 | 2500 | 2500
Door Locks | 120 | 300 | 500
Window film | 1750
Code 35 - HMRS Total | 1870 | 2800 | 3000
WOODSIDE AVENUE SCHOOL
New doors | 8640 | 2500 | 2500
Window repairs | 2262
Replace shades | 230 | 1200 | 500
Code 35 - WAS Total | 11132 | 3700 | 3000
TOTALS | 13602 | 8500 | 9100
Completed/
| 2018-2019 | 2019-2020 | 2020-2021
Code 40: Floors & Ceilings | Actual | Budgeted | Planned
FRANKLIN AVENUE MIDDLE SCHOOL
Ceiling Tiles | 250 | 600 | 600
Replace Floors | 3200 | 1200 | 2500
Code 40 - FAMS Total | 3450 | 1800 | 3100
HIGH MOUNTAIN ROAD SCHOOL
Replace floors lunch room | 25029
Ceiling Tiles | 600 | 400 | 600
Code 40 - HMRS Total | 25629 | 400 | 600
WOODSIDE AVENUE SCHOOL
Replace Floors | 2100 | 5667 | 0
Ceiling | 656 | 400 | 600
Code 40 - WAS Total | 2756 | 6067 | 600
TOTALS | 31835 | 8267 | 4300
Completed/
| 2018-2019 | 2019-2020 | 2020-2021
Code 45: Plumbing | Actual | Budgeted | Planned
FRANKLIN AVENUE MIDDLE SCHOOL
Replace Drinking Fountains | 0 | 800 | 1000
Replace hot water tank | 0
Plumbing Supplies/Repairs | 3835 | 800 | 1500
Code 45 - FAMS Total | 3835 | 1600 | 2500
HIGH MOUNTAIN ROAD SCHOOL
Water heater installed | 0
Replace Drinking Fountains | 1600 | 800 | 1000
Plumbing Supplies | 150 | 800 | 1500
Code 45 - HMRS Total | 1750 | 1600 | 2500
WOODSIDE AVENUE SCHOOL
Replace Drinking Fountains | 0 | 800 | 1000
Water heater installed | 0
Plumbing Supplies/Repairs | 750 | 600 | 1500
Code 45 - WAS Total | 750 | 1400 | 2500
TOTALS | 6335 | 4600 | 7500
| 2018-2019 | 2019-2020 | 2020-2021
Code 50: Electrical | Actual | Budgeted | Planned
FRANKLIN AVENUE MIDDLE SCHOOL
Electrical supplies | 550 | 1200
Outlets | 250 | 200 | 1500
Exit Lights | 200
Upgrade Lighting Fixtures | 7163 | 500 | 1500
Code 50 - FAMS Total | 8163 | 1900 | 3000
HIGH MOUNTAIN ROAD SCHOOL
Outlets | 0 | 200 | 1500
Electrical supplies | 1750 | 1200
Outlets/Wire mold cabinets | 0
New Transformer | 0 | 0
Upgrade gym Lighting Fixtures | 0 | 1000 | 1200
Code 50 - HMRS Total | 1750 | 2400 | 2700
WOODSIDE AVENUE SCHOOL
Update Exit Lights | 0
Parking lot Exterior Lights | 0
Outlets/Wire mold cabinets | 1200 | 100 | 1200
Electrical supplies | 1550 | 1051
Upgrade gym Lighting Fixtures | 0 | 0 | 1200
Code 50 - WAS Total | 2750 | 1151 | 2400
TOTALS | 12663 | 5451 | 8100
Completed/
| 2018-2019 | 2019-2020 | 2020-2021
Code 55: Ventilation | Actual | Budgeted | Planned
FRANKLIN AVENUE MIDDLE SCHOOL
Uni-Vents | 5023 | 3500 | 1650
Airdale units | 7693 | 5000 | 16600
Motors & Belts | 340 | 1800 | 1000
Filters | 2233
Code 55 - FAMS Total | 15289 | 10300 | 19250
HIGH MOUNTAIN ROAD SCHOOL
Update Ventilation
Airdale units | 0 | 0 | 0
Motors & Belts | 230 | 2000 | 750
Ceiling fans
Uni-Vents | 1200 | 2000 | 1600
Code 55 - HMRS Total | 1430 | 4000 | 2350
WOODSIDE AVENUE SCHOOL
Uni-Vents | 7200 | 4000 | 5000
Airdale units | 0 | 0 | 0
Motors & Belts | 330 | 500 | 750
Ceiling fans
Code 55 - WAS Total | 7530 | 4500 | 5750
TOTALS | 24249 | 18800 | 27350
Completed/
| 2018-2019 | 2019-2020 | 2020-2021
CODE 60: Heating/Air Conditioning | Actual | Budgeted | Planned
FRANKLIN AVENUE MIDDLE SCHOOL
| 0 | 0 | 0
Air Filters | 1800 | 1200 | 2500
Repairs-Boilers | 650 | 1162 | 2440
Repairs-Controls | 9878 | 800 | 7500
Rooftop Unit | 10650
Repairs | 29635
Code 60 - FAMS Total | 52613 | 3162 | 12440
HIGH MOUNTAIN ROAD SCHOOL
Boiler Repairs | 7800 | 2000 | 12000
Air Filters | 800 | 1200 | 2500
Heating coil | 0 | 3333 | 2100
Repairs-Controls | 2290 | 800 | 5115
Univents | 14712
Repair gym AC | 0
Code 60 HMRS Total | 25602 | 7333 | 21715
WOODSIDE AVENUE SCHOOL
Boiler Maintenance kit | 1723 | 0 | 500
Air Filters | 1245 | 2300 | 2500
Water treatment | 1500 | 0 | 2100
Repairs-Controls | 150 | 800 | 1800
Chiller repairs | 4667
Univents | 14881
Replace Airdale | 0
Code 60 - WAS Total | 24166 | 3100 | 6900
TOTALS | 102381 | 13595 | 41055
Completed/
| 2018-2019 | 2019-2020 | 2020-2021
Code 65: Fire & Alarm System | Actual | Budgeted | Planned
FRANKLIN AVENUE MIDDLE SCHOOL
Update Security System | 0
Update Fire Detectors | 1788 |  | 4000
Service Contract-Alarms | 3640 | 400 | 1400
Service Contract-Fire Extinguishers | 2800
Maintenance-Security System | 0 | 333 | 350
Code 65 - FAMS Total | 8228 | 733 | 5750
HIGH MOUNTAIN ROAD SCHOOL
Update Security System | 0
Update Fire Alarms | 0 | 1400 | 2000
Service Contract-Alarms | 2200 | 400 | 1400
Service Contract-Fire Extinguishers | 650
Maintenance-Security System | 0 | 333 | 350
Code 65 - HMRS Total | 2850 | 2133 | 3750
WOODSIDE AVENUE SCHOOL
Update panel | 0
Update Fire Alarms | 0 |  | 0
Service Contract-Alarms | 2500 | 1200 | 1400
Service Contract-Fire Extinguishers | 725
Maintenance-Security System | 0 | 333 | 350
Code 65 - WAS Total | 3225 | 1533 | 1750
TOTALS | 14303 | 4399 | 11250
Completed/
| 2018-2019 | 2019-2020 | 2020-2021
Code 80: Specialty Areas | Actual | Budgeted | Planned
FRANKLIN AVENUE MIDDLE SCHOOL
Lockers | 0
Septic System repaired/Pumped | 750 | 2700 | 2000
Service contract-Elevator | 2250 | 3100 | 2800
Recycling bins | 0
Lightning detection system | 0
Asbestos Management | 1630 | 1000
Security/Locks/Safety film | 0
Instructional Equipment | 913
Non-Instructional Equipment | 450 | 1500 | 1270
Repairs Custodial Equipment | 0
Code 80 - FAMS Total | 5993 | 8300 | 6070
HIGH MOUNTAIN ROAD SCHOOL
Septic System/Pumped repaired | 0 | 700 | 1800
Recycling bins | 0
Lightning detection system | 0
Asbestos Management | 1630 | 1000
Repairs to Instructional Equipment |  | 0 | 1700
Upgrade-telephones | 0
Security/Locks/Safety film | 2200
Non-Instructional Equipment | 0 | 1250
Repairs Custodial Equipment | 0
Code 80 - HMRS Total | 3830 | 2950 | 3500
WOODSIDE AVENUE SCHOOL
Septic System/Pumped repaired | 5700 | 3600 | 2900
Replace Clocks | 374
Recycling bins | 0
Security/Locks/Safety film | 425
Asbestos Management | 1630 | 800 | 1500
Lightning detection system | 0 | 400
Upgrade-telephones | 35312 | 2500
Repairs Custodial Equipment | 0
Code 80 - WAS Total | 43441 | 7300 | 4400
TOTALS | 53264 | 18550 | 13970